## Blank
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
THIS PAGE INTENTIONALLY LEFT BLANK

## Worksheet
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory

## Item List
Items to Include in Maintenance Manual
Submittal # | Description | Included
1 | Pipe | Yes
2 | PRV | Yes
3 | Ductile Fittings-PRV's | Yes
4 | Ductile Fittings | Yes
5 | Poly Encasement | Yes
6 | Coating | Yes
7 | Hytech Detectable Tape | Yes
8 | Tracer Wire | No
9 | Pipeline Markers | Yes
10 | Flange Gasket | Yes
11 | Restraints | Yes
12 | Push-On Restraint | Yes
13 | MJ Restraint | Yes
14 | Gate Valve | Yes | FL X FL
SL X FL
SL X SL
MJ X FL
15 | Hydrant (Blow-Off) | Yes
16 | Sample Station | Yes
17 | Valve Box (Can) | Yes
18 | AirVac Vault | Yes
19 | Air/Vac Valve | Yes
20 | Poly Tube | Yes
21 | Customer Valve | Yes
22 | Angle Stop | Yes
23 | Coproration Stop | Yes
24 | Service Saddle | Yes
25 | Meter Pit | Yes
26 | Bolt, Nut, Washer set | Yes
27 | Erosion Control Blanket | No
28
29 | Progres Payment Form | No
30 | Fill Sand | No
31 | SWPP | No
32 | Compaction | No
33 | Insurance | No
34 | Ductile Iron Fitting | Yes
| 2" Gate Valve (Blow-Off) | Yes
| PRV Vault | Yes

## 1-Pipe
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM: | Pipe, C900
BRAND
| MODEL | Blue Brute
| SIZE | 4"& 6"
| MTRL | PVC
2 | MANUFACTURER: | JM Eagle
| Address Line 1 | 5200 West Century Blvd.
| Address Line 2 | Los Angeles, CA 90045
Address Line 3
| Tel. number | 800-621-4404
Fax. Number
Email
| Website | www.jmeagle.com
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | Not applicable for this item
5 | WEIGHT (OVER 100 POUNDS): | 52-134
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Not applicable for this item
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Not applicable for this item
THIS PAGE INTENTIONALLY LEFT BLANK

## 2-Control Valve
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM: | Control Valve-4"
Control Valve-6"
BRAND
| MODEL | 90-01
| SIZE | 4"& 6"
| MTRL | Ductile Iron
2 | MANUFACTURER: | Cla-Val
| Address Line 1 | P.O. Box 1325
| Address Line 2 | Newport Beach, CA 92659-0325
Address Line 3
| Tel. number | 949-722-4800
| Fax. Number | 949-548-5441
Email
| Website | www.cla-val.com
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | 4"-140#, 6"-285#
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | 4"
6"
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | None
THIS PAGE INTENTIONALLY LEFT BLANK

## 3,4-Ductile Fittings
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM: | Ductile Fittings
Ductile Fittings
BRAND
| MODEL | Various
| SIZE | 4"& 6"
| MTRL | Ductile Iron
2 | MANUFACTURER: | Star Pipe Products
| Address Line 1 | 4018 Westhollow Pkwy.
| Address Line 2 | Houston, TX 77082
Address Line 3
| Tel. number | 800-999-3009
| Fax. Number | 281-558-9000
Email
| Website | www.starpipeproducts.com
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | Not applicable for this item
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Not applicable for this item
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Not applicable for this item
THIS PAGE INTENTIONALLY LEFT BLANK

## 5-Poly Encasement
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM: | Polyethylene Encasement
| BRAND | Polywrap
MODEL
| SIZE | 3X100X8mils
MTRL
2 | MANUFACTURER: | Northtown Pipe Protection Products
| Address Line 1 | P.O. Box 2064
| Address Line 2 | Huntington Beach, CA 92647
Address Line 3
| Tel. number | 714-897-0700
| Fax. Number | 714-897-0600
| Email | sales@northtowncompany.com
| Website | www.northtowncompany.com
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | Not applicable for this item
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Not applicable for this item
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Not applicable for this item
THIS PAGE INTENTIONALLY LEFT BLANK

## 6-Coating
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM: | Coating
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER: | Carboline
| Address Line 1 | 2150 Schueltz Rd
| Address Line 2 | St. Louis, MO 63146
Address Line 3
| Tel. number | 314-644-1000
| Fax. Number | 314-587-2693
Email
| Website | www.carboline.com
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | Not applicable for this item
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Not applicable for this item
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Not applicable for this item
THIS PAGE INTENTIONALLY LEFT BLANK

## 7-Detectable Tape
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM: | Detectable Tape
| BRAND | Hytech Detectable Tape
| MODEL | Blue
| SIZE | 3"X1000'
MTRL
2 | MANUFACTURER: | Northtown Pipe Protection Products
| Address Line 1 | P.O. Box 2064
| Address Line 2 | Huntington Beach, CA 92647
Address Line 3
| Tel. number | 714-897-0700
| Fax. Number | 714-897-0600
| Email | sales@northtowncompany.com
| Website | www.northtowncompany.com
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | Not applicable for this item
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Not applicable for this item
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Not applicable for this item
THIS PAGE INTENTIONALLY LEFT BLANK

## 9-Utility Marker
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM: | Utility Marker
| BRAND | Carsonite
| MODEL | CRM3
| SIZE | 66"
| MTRL | Fiberglass Composite
2 | MANUFACTURER: | Valmont Composite Structures
| Address Line 1 | 19845 U.S. Hwy. 76
| Address Line 2 | Newberry, SC 29108
Address Line 3
| Tel. number | 800-648-7916
| Fax. Number | 803-276-8940
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | Not applicable for this item
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Not applicable for this item
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Not applicable for this item
THIS PAGE INTENTIONALLY LEFT BLANK

## 10-Gasket
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM: | Gasket
BRAND
| MODEL | NA1001
| SIZE | 4"& 6"
| MTRL | Aramid/NBR
2 | MANUFACTURER: | Teadit
| Address Line 1 | 10545 Red Bluff Road
| Address Line 2 | Pasadena, TX 77507
Address Line 3
| Tel. number | 281-476-3900
| Fax. Number | 281-476-3999
Email
| Website | www.teadit.com
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | Not applicable for this item
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Not applicable for this item
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Not applicable for this item
THIS PAGE INTENTIONALLY LEFT BLANK

## 11-Restraint
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM: | Restraint, Joint
BRAND
| MODEL | 1100
| SIZE | 4"& 6"
MTRL
2 | MANUFACTURER: | Star Pipe Products
| Address Line 1 | 4018 Westhollow Pkwy.
| Address Line 2 | Houston, TX 77082
Address Line 3
| Tel. number | 800-999-3009
| Fax. Number | 281-558-9000
Email
| Website | www.starpipeproducts.com
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | Not applicable for this item
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Not applicable for this item
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Not applicable for this item
THIS PAGE INTENTIONALLY LEFT BLANK

## 12-Restraint
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM: | Restraint, Joint
BRAND
| MODEL | 1000
| SIZE | 4"& 6"
MTRL
2 | MANUFACTURER: | Star Pipe Products
| Address Line 1 | 4018 Westhollow Pkwy.
| Address Line 2 | Houston, TX 77082
Address Line 3
| Tel. number | 800-999-3009
| Fax. Number | 281-558-9000
Email
| Website | www.starpipeproducts.com
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | Not applicable for this item
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Not applicable for this item
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Not applicable for this item
THIS PAGE INTENTIONALLY LEFT BLANK

## 13-Restraint
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM: | Restraint, Joint
BRAND
| MODEL | 3000
| SIZE | 4"& 6"
MTRL
2 | MANUFACTURER: | Star Pipe Products
| Address Line 1 | 4018 Westhollow Pkwy.
| Address Line 2 | Houston, TX 77082
Address Line 3
| Tel. number | 800-999-3009
| Fax. Number | 281-558-9000
Email
| Website | www.starpipeproducts.com
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | Not applicable for this item
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Not applicable for this item
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Not applicable for this item
THIS PAGE INTENTIONALLY LEFT BLANK

## 14-Gate Valve
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM: | Gate Valve
BRAND
| MODEL | A-2361-6 | A-2361-41 | A-2361-38 | A-2361-16
| SIZE | 4"& 6"
| MTRL | FL X FL | SL X FL | SL X SL | MJ X FL
2 | MANUFACTURER: | Mueller Company
| Address Line 1 | 1401 Mueller Avenue
| Address Line 2 | Chattanooga, TN 37406
Address Line 3
| Tel. number | 800-423-1323
Fax. Number
Email
| Website | www.muellercompany.com
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | 81-136 | 93-140 | 85-144 | 110-156
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Periodically operate Valve through full open/close cycle
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Not applicable for this item
THIS PAGE INTENTIONALLY LEFT BLANK

## 15-Hydrant
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM: | Hydrant
BRAND
| MODEL | TF200
| SIZE | 2"
MTRL
2 | MANUFACTURER: | Kupferle Foundry Company
| Address Line 1 | 2511 N. 9th Street
| Address Line 2 | St. Louis, MO 63102
Address Line 3
| Tel. number | 314-231-8738
| Fax. Number | 314-231-2820
Email
| Website | www.hydrants.com
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Not applicable for this item
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Not applicable for this item
THIS PAGE INTENTIONALLY LEFT BLANK

## 16-Sample Station
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM: | Sample Station
BRAND
| MODEL | 66
| SIZE | 3/4"
| MTRL | Stainless Steel
2 | MANUFACTURER: | Kupferle Foundry Company
| Address Line 1 | 2511 N. 9th Street
| Address Line 2 | St. Louis, MO 63102
Address Line 3
| Tel. number | 314-231-8738
| Fax. Number | 314-231-2820
Email
| Website | www.hydrants.com
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Not applicable for this item
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Not applicable for this item
THIS PAGE INTENTIONALLY LEFT BLANK

## 17-Valve Box
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM: | Valve Box
BRAND
| MODEL | G04
| SIZE | 10"
MTRL
2 | MANUFACTURER: | Oldcastle Precast
Address Line 1
Address Line 2
Address Line 3
| Tel. number | 800-486-7070
| Fax. Number | 800-486-6804
Email
| Website | www.oldcastleprecast.com
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Not applicable for this item
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Not applicable for this item
THIS PAGE INTENTIONALLY LEFT BLANK

## 18-AirVac Vault
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
THIS PAGE INTENTIONALLY LEFT BLANK

## 19-Air Valve
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM: | Air Vacuum Valve
BRAND
| MODEL | D-040
| SIZE | 1" NPT
| MTRL | Reinforced Nylon Body and Base
2 | MANUFACTURER: | A.R.I.
| Address Line 1 | Kibbutz Kfar Charuv
| Address Line 2 | 12932 ISRAEL
Address Line 3
| Tel. number | 972-4-6761800
| Fax. Number | 972-4-6763402
| Email | ari@ari.co.il
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
THIS PAGE INTENTIONALLY LEFT BLANK

## 20-Poly Tubing
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
THIS PAGE INTENTIONALLY LEFT BLANK

## 21-Customer Valve
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
THIS PAGE INTENTIONALLY LEFT BLANK

## 22-Angle Stop
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
THIS PAGE INTENTIONALLY LEFT BLANK

## 23-Corp Stop
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
THIS PAGE INTENTIONALLY LEFT BLANK

## 24-Service Saddle
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
THIS PAGE INTENTIONALLY LEFT BLANK

## 25-Meter Pit
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
THIS PAGE INTENTIONALLY LEFT BLANK

## 26-Bolt, Nut, Washer Set
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
THIS PAGE INTENTIONALLY LEFT BLANK

## 34-Ductile Iron Fitting
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
THIS PAGE INTENTIONALLY LEFT BLANK

## 2 In Gate Valve
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
THIS PAGE INTENTIONALLY LEFT BLANK

## PRV Vault
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
THIS PAGE INTENTIONALLY LEFT BLANK

## Blank (8)
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
THIS PAGE INTENTIONALLY LEFT BLANK

## Blank (17)
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
THIS PAGE INTENTIONALLY LEFT BLANK

## Blank (18)
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
THIS PAGE INTENTIONALLY LEFT BLANK

## Blank (9)
PROJECT | PIPE SUPPLY AND INSTALLATION
1 | EQUIPMENT ITEM:
BRAND
MODEL
SIZE
MTRL
2 | MANUFACTURER:
Address Line 1
Address Line 2
Address Line 3
Tel. number
Fax. Number
Email
Website
3 | DISTRIBUTOR: | HD Supply
| Address Line 1 | 19421 Colombo Street
| Address Line 2 | Bakersfield, CA 93308
Address Line 3
| Tel. number | 661-393-2288
Fax. Number
Email
4 | EQUIPMENT/TAG NUMBER(S): | To be added by Engineer
5 | WEIGHT (OVER 100 POUNDS): | Not applicable for this item
6 | NAMEPLATE DATA: | Not applicable for this item
7 | MAINTENANCE REQUIREMENTS: | Replace unit with spare if leak or damage is observed
8 | LUBRICANT LIST: | Not applicable for this item
9 | RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY: | Spare unit in inventory
THIS PAGE INTENTIONALLY LEFT BLANK